10. Summary

Until my thesis design I have built a cheap HW construct blood pressure measurement appliance, whose specification were based on the studies of the literature and I have developed a acceptable accuracy  functioned algorithm. This blood pressure measure using the oscillometric method to compute the blood pressure values with the algorithm. Exactly, this method determinate the blood pressure values from the pressure rising obtained on all heart beating. The built appliance determinate the pulse wave amplitudes from the samples of the slow deflation pressure curve. The algorithm compute the sistole, diastole, and heart rate from the existing amplitudes and pressure values belong to the amplitudes. Blood pressure values are computed with accuracy of +/- 10 Hgmm by healty man until at the determination of the pulse sometimes the error can be greater, what are not acceptable. By strongly and immediate heart exercise, premature atrial contract and little intense moving and tremor is the accuracy  of the algorithm is acceptable, too.

The blood pressure isn’t yet automatic, so the fitted units, like motor and valve are control by the command putting by the computer so it is a more exercise to develop the valve control algorithm and to implement in the memory of the microcontroller together the blood pressure determinate algorithm.